FIRE EMERGENCY CHECK LIST

<facility address, suite number, agency and section identifiers>

POST THIS NOTICE AT EVERY EXTINGUISHER STATION

Primary Floor Monitor is:		<name> 	<office cubicle><phone extension>

Alternate Monitor is:		<name> 	<office cubicle><phone extension>

Emergency Safety

Coordinator (ESC)	 		<name> 	<office cubicle><phone extension>

Has 911 been called? 			           If not CALL 911           NOW!

Has SECURITY been contacted?	           If not CALL x 43434    NOW!

Has building ALARM been activated?	If not, activate alarm  NOW!

Complete Your "Fight or Flight" Assessment:

1.	Building is being evacuated (Fire alarm has been pulled)

2.	Fire Department has been called ( Dial 911! )

3.	The Fire is small, contained and NOT spreading

4.	The EXIT IS CLEAR (can you fight the fire with your back to an exit?)

5.   Extinguisher is of the proper type and rating for the fire:

THIS EXTINGUISHER IS TYPE ____ RATED ____

P.A.S.S.

P ULL

A IM

S QUEEZE

S WEEP

USE the “Buddy System” -  get assistance BEFORE trying to fight a fire!

CONTINUE a complete building evacuation.  Do not attempt to fight a fire UNLESS you have been TRAINED and CERTIFIED in proper use of THIS fire extinguisher!